## Checklist
Roof inspection report |  | Report #
Date
Inspector
From |  | Property
Company |  | Name
Phone |  | Job address
Email |  | Phone
License #
The roof
Roof covering |  | Layers
Roof area (sq ft) |  | Squares
Pitch |  | Stories
Roof age, if known |  | Inspected from
Item | Condition | Photo # | Notes
Roof covering
Shingles blistered, curled or split
Shingles loose or missing
Broken seals on shingles
Granule loss on shingles
Nails loose, exposed or popped
Ridge and hip shingles broken or loose
Sagging along the ridges
Moss, algae or dark streaks
Tile or metal: cracked tiles, rust, dents or loose panels
Flashing and sealant
Flashing damaged or missing
Flashing rusty or corroded
Caulk or sealant at flashing missing or cracked
Wall and valley flashing separated from the roof
Penetrations
Pipe boots dry-rotted or cracked
Chimney cracks, crumbling mortar, loose base flashing
Skylights: cracked glass or fog between the panes
Roof vents
Gutters, edges and walls
Gutters and downspouts clear and attached
Shingle granules piling up in the gutters
Shingle overhang at the gutters and eaves
Fascia boards damaged or rotted
Siding above the roof
Attic and interior
Daylight through the roof boards
Cracks in the roof sheathing
Decking sagging between rafters
Stains or water tracks around vents and chimneys
Condensation, wet insulation or mold
Soffit, intake and ridge vents open
Bathroom and kitchen fans vented outside
Ceiling stains, peeling paint or bubbling drywall
Report summary
Items in good condition
Items in fair condition
Items in poor condition
Items marked N/A
Items checked |  | of 30 on the list
Active leaks seen
Overall condition
Recommendation
Repairs recommended
Photos
Photo # | Where |  | What it shows
Inspector signature |  | Date
Template from measuredbid.com. Free to use and change.

## Example
Roof inspection report (example) |  | Report # | 1042
Sample job on the sample house, with sample rates. Not market prices. |  | Date | Sample
Inspector
From |  | Property
Company | Sierra Roofing Co. | Name | Jordan Example
Phone | (916) 555-0100 | Job address | 412 Sample Ridge Ct, Roseville, CA
Email |  | Phone | (916) 555-0114
License #
The roof
Roof covering | Asphalt shingle | Layers | 1
Roof area (sq ft) | 2,344 | Squares | 23.4
Pitch | 5/12 | Stories | 1
Roof age, if known |  | Inspected from | Ground and attic
Item | Condition | Photo # | Notes
Roof covering
Shingles blistered, curled or split | Good
Shingles loose or missing | Good
Broken seals on shingles | Good
Granule loss on shingles | Fair | 1 | Worn on the south slope
Nails loose, exposed or popped | Good
Ridge and hip shingles broken or loose | Good
Sagging along the ridges | Good
Moss, algae or dark streaks | Good
Tile or metal: cracked tiles, rust, dents or loose panels | N/A
Flashing and sealant
Flashing damaged or missing | Good
Flashing rusty or corroded | Good
Caulk or sealant at flashing missing or cracked | Fair | 3 | Dry caulk at the wall flashing
Wall and valley flashing separated from the roof | Good
Penetrations
Pipe boots dry-rotted or cracked | Poor | 4 | Two pipe boots cracked
Chimney cracks, crumbling mortar, loose base flashing | Good
Skylights: cracked glass or fog between the panes | N/A
Roof vents | Good
Gutters, edges and walls
Gutters and downspouts clear and attached | Good
Shingle granules piling up in the gutters | Fair | 2 | Granules at the downspouts
Shingle overhang at the gutters and eaves | Good
Fascia boards damaged or rotted | Good
Siding above the roof | Good
Attic and interior
Daylight through the roof boards | Good
Cracks in the roof sheathing | Good
Decking sagging between rafters | Good
Stains or water tracks around vents and chimneys | Good
Condensation, wet insulation or mold | Good
Soffit, intake and ridge vents open | Good
Bathroom and kitchen fans vented outside | Good
Ceiling stains, peeling paint or bubbling drywall | Good
Report summary
Items in good condition | 24
Items in fair condition | 3
Items in poor condition | 1
Items marked N/A | 2
Items checked | 30 | of 30 on the list
Active leaks seen | No
Overall condition | Fair
Recommendation | Repair
Repairs recommended | Replace two pipe boots. Reseal the wall flashing.
Photos
Photo # | Where |  | What it shows
1 | South slope |  | Granule wear
2 | Downspout at run 3 |  | Granules in the gutter
3 | Wall flashing |  | Dry caulk
4 | Plumbing vents |  | Cracked pipe boots
Inspector signature |  | Date
Template from measuredbid.com. Free to use and change.